**Annexure-I**

**Ref. No**: N-III/MECH-5/Cont- 1283

**SCOPE OF WORK**

**Name of Work**: **Proposal for carrying out tube leakage rectification of Auxiliary Boiler of Ammonia-III plant**

If specifically not mentioned herein after or not mentioned anywhere else, the scope of work shall include but not limited to the following for completion of entire job.

1. **Tube leakage rectification of Auxiliary Boiler of Ammonia-III plant:**
2. Opening of man hole covers for inspection.
3. Welding of leaky tubes.
4. Making & fitting of all appropriate jacking/ lifting arrangement by cutting, welding, grinding works shall be in the scope of executing agency.
5. Identification and marking of the leakages, subsequent repair of tube leakages by TIG welding using special filler/ electrode, DPT, cleaning & scrapping of tube surfaces subjected for NDT.
6. All the tools & tackles, cutting & welding machines/appliances/ electrodes, oxygen, DA & gases and accessories shall be adequately supplied by the executing agency.
7. Boxing up the manhole cover.
8. Assembling/Dismantling of scaffoldings.

General conditions:

1. The scope of work shall include but not limited to the above for completion of entire job.
2. All tools and tackles, cutting and welding appliances and accessories, if required, shall be adequately supplied by the executing agency.
3. Any scaffolding required will have to be arranged by the executing agency and also their assembling and dismantling.
4. All best engineering practices and procedures and safety gadgets to be strictly followed to carry out the job.
5. Cleaning of site debris/waste to dumping yard after finishing of job.
6. Returning of unused supplied material(s) to the Engineer-in-charge.
7. Jobs should be executed as instructed by the Engineer-in-charge

(जी सी गोवाला / G C Gowala)

संयंत्र अभियान्ता (यांत्रिक)/P.E. (Mech), A-III

**Annexure-II**

**Ref**: N-III/MECH-5/Cont-1283/

**SCHEDULE OF WORK, QUANTITY & RATE**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| SL. No. | Job description | Qty | Rate (Rs.) | Amount (Rs.) |
| 01. | Carrying out tube leakage rectification of Auxiliary Boiler of Ammonia-III plant | L/S |  |  |
| 02. | Sub Total | | |  |
| 03. | CGST @ 9% | | |  |
| 04. | SGST @ 9% | | |  |
|  | Total amount | | |  |

NOTE: Party to fill the tender form with clear handwriting and avoid overwriting.

**In words:** Rupees\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_) only.

**………………………………………………………………………………………………………………………..**

Signature of the tenderer: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Party’s name : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

SEAL: PAN No.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**…………………………………………………………………………………………………………………**

**ANNEXURE-III**

(Part of Contract)

**BID SECURITY DECLARATION**

Ref. No: N-III/Mech-5/Cont-1283/472 Date: 28-06-2021

To

संयंत्र अभियान्ता (यांत्रिक)/P.E. (Mech), A-III  
BVFCL, Namrup

Sub.: ‘Carrying out tube leakage rectification of Auxiliary Boiler of Ammonia-III plant.

Dear Sir,

I...........................................................................................................................................Son/Daughter of Shri..................................................................................... Proprietor/Partner/CEO/MD/ Director/ Authorised signatory of M/s .................................................... am competent to sign this declaration and accepting “BID SECURITY DECLARATION” in lieu of bid security.

I/we are well aware of the fact that withdrawing or modifying our bids during the period of validity etc. would lead to suspension of our tender for the time specified in the tender documents as per office memorandum Ref no. F.9/4/2020-PPD dtd. 12th Nov. 2020 of Rule 170 of General Financial Rules (GFRs) 2017 under Ministry of Finance.

I/we have carefully read and understood all the terms and conditions of the tender and hereby convey my/our acceptance for the same.

Thanking you.

Yours faithfully,

For M/s. : ----------------------------------------------------------

(Signature of Contractor/ Bidder/Authorized Person with SEAL)

Address : ----------------------------------------------------------

----------------------------------------------------------

----------------------------------------------------------